## Spisak opreme
INICIJALNA PONUDA LOT 1 : Održavanje inženjersko tehničke opreme van garantnog roka
PUN NAZIV PONUĐAČA
ADRESA PONUĐAČA
JIB
MB
PIB
PUN NAZIV PODIZVOĐAČA I ADRESA
IME I PREZIME POTPISNIKA UGOVORA
DATUM PONUDE
BROJ PONUDE
Spisak opreme za inženjersko-tehničku zaštitu koja nije u garantom roku
R.br. | Naziv | Opis | količina | ukupna cijena KM
PROTIVPROVALNI SISTEM
1 | DSC HS2032 | DSC HS2032 Alarmna centrala Power Seria NEO, sa metalnom kutijom, 8 programabilnih zona, proširiva do 32 žične zone | 1 | 0
| Akumulator | Rezervno napajanje - Akumulator ULTRACELL 7Ah/12VDC | 1 | 0
| Trafo | Napajanje alarmne centrale Trafo 16VAC/40VA, sa osiguračem | 1 | 0
| HSM2108 | Zonsko proširenje - Modul za proširenje sa 8 žičnih zona, NEO serija | 1 | 0
| T-1 | Panik taster za metalno kućište | 1 | 0
2 | L1 | Bravica sa dva ključa | 1 | 0
| Metalna kutija | dodatnog metalnog kućišta dimenzija 254x419x89 mm | 1 | 0
| T-1 | Panik taster za metalno kućište | 1 | 0
| L1 | Bravica sa dva ključa | 1 | 0
| Akumulator | Rezervno napajanje - Akumulator ULTRACELL 7Ah/12VDC | 1 | 0
| Trafo | Napajanje alarmne centrale Trafo 16VAC/40VA, sa osiguračem | 1 | 0
| DSC HSM2300 | 1A dodatno napajanje, nadzirano, povezivanje preko keybus-a | 1 | 0
| DSC TL280-3GE | Kartica za IP i GSM/GPRS komunikaciju kompatibilna sa centralama NEO serije | 1 | 0
3 | DSC NEO-HS2LCD-EE2 | LCD šifrator za NEO seriju alarmnih centrala -žičana LCD šifrator za 128 zone sa potpunim prikazom poruka | 1 | 0
4 | BentCall | Bentel spoljašnja antisabotažna sirena 40W Nivo žaštite: IP34 Napajanje: 13,8V Akumulator: 12V 2Ah (nije u kompletu) Radna struja: 1.4A (2.8A max) Zvučni izlaz: 105dB na 3m Dimenzije: 208mm x 252mm x 98mm Težina (bez 2Ah baterije): 2.3kg Radna temperatura: -25°C do 55°C | 1 | 0
5 | Akumulator | Rezervno napajanje za spoljašnju sirenu - ULTRACELL 2Ah/12VDC | 1 | 0
6 | BentWave | BENTEL WAVE/W sirena unutrašnja, tamper, 12V, potrošnja 90mA, 104dB | 1 | 0
7 | Panic taster žični | PANIC TASTER NO/NC-COM, plastični - pult kasa | 1 | 0
8 | Panic taster - daljinski | RF Supra daljinski prijemnik - sa dve daljinske komande, tiha dojava PANIC | 1 | 0
9 | BV 501 QUAD PIR | QUAD PIR detektor za plafonsku montažu, 360° plafonski,12m | 1 | 0
10 | Materijal | Alarmni kabel 6 x 0,22 – shield | 1 | 0
11 | DSC DG50 | senzora loma stakla za plafonsku ugradnju kao DSC DG50 | 1 | 0
UKUPNO |  |  |  | 0
VIDEO NADZOR
1 | Unutrašnja kamera | IP kamera dome - ID DC-D4217RX Full HD (1080p) resolution Fixed-focal lens (f=2.8mm/4.0mm) PoE (IEEE 802.3af Class 2) Day and night (ICR) 120dB True wide dynamic range (WDR) Low light enhancer IR LED (Distance : 20 m / 65.6 ft) 3-axis mechanical design for installation Supports ONVIF | 1 | 0
2 | Vanjska kamera | IDIS DC-T4536HRX 5MP Vari-focal Vandal-proof WDR IR Dome /w H.265 Motorized vari-focal f=3,0-13,5mm, PoE 5MP (2592 x 1944) resolution Motorized Vari-focal lens (f=3.0 - 13,5mm) micro SD/SDHC/SDXC, Smart Failover (Up to 512GB) Two-way audio Alarm in / out IK10 / IP67 supports Built-in heater PoE (IEEE 802.3af Class 3), 12V DC Day and night (ICR) 120 dB True wide dynamic range (WDR) Low light enhancer IR LED (Distance : 30m / 98.4ft) 3-axis mechanical design for installation Supports ONVIF | 1 | 0
3 | Kamera fisheye | IP kamera fisheye - IDIS-Y6516WRX 5MP (2560 x 2048) resolution Fixed-focal lens (f=1.5mm) micro SD/SDHC/SDXC, Smart Failover (Up to 128GB) Two-way audio Alarm in / out IK10 / IP67 supports PoE (IEEE 802.3af Class 3), 12V DC Day and night (ICR) True wide dynamic range (WDR) IR LED (Distance : 20m / 65.6ft) Various viewing composition, 6 dewarping view modes Supports ONVIF | 1 | 0
4 | HDMI encoder | IDIS HE-1201 HDM/VGA Video Encoder, H.265 Video Codec. Max Framrate 3840 x 2160, 30fps. Max Resolution 3840 x 2160 | 1 | 0
5 | NVR | IDIS DR-6532P w/2TB HDD + 2TB HDD Total incoming throughput 370Mbps Up to 960ips UHD real-time recording Supports H.265 / H.264 codec Supports UHD display Up to 960ips live display | 1 | 0
6 | NVR | Hard disk HDD WD 4 TB Sata3 64MB Purple WD43PURZ | 1 | 0
7 | Switch | IDIS DH-2212PF DirectIP™ 8 Ports PoE Hub + 2 SFP Ports | 1 | 0
UKUPNO |  |  |  | 0
KONTROLA PRISTUPA
1 | Kontroler | KONTROLER KANTECH KT-400 - Podrška za 4 čitača - 16 nadziranih ulaza i 16 izlaza - 4 pomoćna izlaza - Ugrađen Ethernet priključak za povezivanje sa EntraPass softverom - Nadzirani priključci za napajanje brava | 1 | 0
2 | Akumulator | Akumulator 12V 12Ah | 1 | 0
3 | Čitač kartica | KANTECH KT-SG-MT | 1 | 0
4 | Prenaponska zaštita | STM232 RS-232 Serial Interface Photoelectric Isolator - Napon izolacije: 2.500Vrms impulsno ili 500VDC kontinualno - Transmission rate: 300 - 57.600BPS - Konektor: DB9 sa obe strane - Napajanje sa RS232 interface (TXD, RTS or DTR) | 1 | 0
5 | Elektromagnetni prihvatnik za rek orman | OPENERS & CLOSERS MEX 70 - dimenzije 90x39,5x24 mm - napajanje 12 / 24 VDC - sa odgovarajućim L/Z profilom | 1 | 0
6 | Elektromagnetni prihvatnik za vrata | OPENERS & CLOSERS MEX 430 - dimenzije 241x47x24,3 mm - napajanje 12 / 24 VDC - sa odgovarajućim L/Z profilom | 1 | 0
7 | Taster za izlazak | Metalni taster - ugradni | 1 | 0
8 | Magnetni kontakt | Magnetni kontakt za detekciju otvaranja vrata i stranica REK ormana | 1 | 0
9 | Zatvarač vrata | DORMA 2-4 Mehnizam poluga za privlačenje/zatvaranje vrata | 1 | 0
10 | Materijal | kabel JYStY 4x2x0,8 – shield | 1 | 0
11 | Prekidač | Prekidač za centralnu kontrolu magneta | 1 | 0
UKUPNO |  |  |  | 0
EVIDENCIJA RADNOG VREMENA
1 | Terminal-čitač kartica | VIRDI AC5000 SC | 1 | 0
2 |  | Elektromagnetni prihvatnik za staklena vrata | 1 | 0
3 |  | PNT cev | 1 | 0
4 |  | Bežično zvonce | 1 | 0
UKUPNO |  |  |  | 0
UKUPNO U KM BEZ PDV-A |  |  | 0
Potpis___________________
m.p.